{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":59,"n_cols":6,"rows_kept":59,"merged":[[0,0,0,5],[2,0,2,5],[19,0,19,5],[21,0,21,5],[33,0,33,5],[36,0,36,5],[41,0,41,5],[44,0,44,5],[54,0,54,5],[58,1,58,5]],"flags":["formulas_cached_only"]}
["北国商城制冷机、冷却塔维修保养"]
[]
["一、东区1# 2#3#5#19XL制冷机维修保养清单"]
[]
["名称","数量","单位","单价(元）","合价（元)","备注"]
["过滤器(纳子型)",2,"个",null,null,"1#、3#机"]
["油过滤器",2,"个",null,null,"1#、3#机"]
["油回收过滤器",2,"个",null,null,"1#、3#机"]
["冷媒过滤器",2,"个",null,null,"1#、3#机"]
["油泵端盖O环",2,"个",null,null,"1#、3#机"]
["R22润滑油(19升/桶)",4,"桶",null,null,"1#、3#机"]
["电机维修",1,"台",null,null,"1#机"]
["制冷剂",37,"瓶",null,null,"1#机"]
["主板维修",2,"块",null,null,"1#、2#机"]
["机组检漏氮气及辅材",1,"项",null,null,"1#、3#机"]
["保养人工费",1,"项",null,null,"1#、3#机"]
["冷凝器化学清洗",4,"台",null,null,"1#、2#、3#、5#机"]
["蒸发器物理清洗",4,"台",null,null,"1#、2#、3#、5#机"]
["合计"]
["说明：机组所更换的油及相过滤器等配件必须是正规厂家产品，中标单位更换前必须提供厂家检验报告和相关资质证明文件。"]
[]
["二、西区2#3#19XR制冷机维修保养清单"]
[]
["名称","数量","单位","单价(元）","合价（元)","备注"]
["油过滤器",2,"个",null,null,"2#机"]
["油回收过滤器",2,"个",null,null,"2#机"]
["冷媒过滤器",2,"个",null,null,"2#机"]
["134A润滑油(19升/桶)",4,"桶",null,null,"2#机"]
["机组检漏氮气及辅材",1,"项",null,null,"2#机"]
["保养人工费",1,"项",null,null,"2#机"]
["冷凝器化学清洗",4,"台",null,null,"2#、3#机"]
["蒸发器物理清洗",4,"台",null,null,"2#、3#机"]
["合计"]
["说明：机组所更换的油及相过滤器等配件必须是正规厂家产品，中标单位更换前必须提供厂家检验报告和相关资质证明文件。"]
[]
[]
["三、膨胀水箱清单"]
[]
["名称","数量","单位","单价(元）","合价（元)","备注"]
["不锈钢水箱",1,"座",null,null,"1.5m*1.5m*1.5m"]
["合计"]
["说明：水箱采用304食品级不锈钢材质，外包卷纸发泡保温及彩钢板或镀锌钢板。需免费将旧水箱拆除清运处置，并将新水箱安装到位及接驳原有管道及水位线路"]
[]
[]
["四、西区冷却塔填料更换清单"]
[]
["名称","数量","单位","单价(元）","合价（元)","备注"]
["填料片",18432,"片"]
["胶水",400,"公斤"]
["槽钢",220,"米",null,null,"50#槽"]
["人工费",2,"台"]
["原材料运费",1,"项",null,null,"夜间运输"]
["垃圾清运费",1,"项",null,null,"夜间运输"]
["合计"]
["说明：此次填料更换需将现在填料安装方式改为粘接块式，安装块式填料的支架采用槽钢，至少分成2层。"]
[]
[]
[]
["报价总计","小写          元  大写            元"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}