{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1 (5)"],"not_rendered":{"images":15,"external_links":1},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1 (5)","index":0,"n_rows":27,"n_cols":11,"rows_kept":27,"merged":[[0,0,0,10],[1,2,1,3],[2,2,2,3],[3,2,3,3],[4,2,4,3],[5,2,5,3],[6,2,6,3],[7,2,7,3],[8,2,8,3],[9,2,9,3],[10,2,10,3],[11,2,11,3],[12,2,12,3],[13,2,13,3],[14,2,14,3],[15,2,15,3],[16,2,16,3],[17,2,17,3],[18,2,18,3],[19,2,19,3],[20,2,20,3],[21,2,21,3],[22,2,22,3],[23,2,23,3],[24,2,24,3],[26,0,26,3]],"flags":["formulas_cached_only"]}
[" 先天下二三层卫生间装修洁具采购招标清单"]
["序号","名　　称　","规格型号及参考图片",null,"颜色","品牌","单位","数量","单价\n（元）","合价\n（元）","备注"]
[1,"台下式洗脸盆","尺寸：W570×d:430(mm)                                                                                        ",null,"白色",null,"个",61,null,null,"含备件2个"]
[2,"自动感应水嘴","型号：DLE126A+DLE124DK                                     ",null,"金属镜面",null,"套",63,null,null,"含备件2个"]
[3,"立柱式洗脸盆","规格尺寸：560xd:460xh:860 (mm)                          ",null,"白色",null,"个",2,null,null,"洗手盆单孔、可安装感应水嘴"]
[4,"壁挂式小便器","                                                                               尺寸：260×346×675(mm) ",null,"白色",null,"套",27,null,null,"含备件1个"]
[5,"感应式小便器冲洗阀（埋墙式）","尺寸:115xd:115 (mm)                                                ",null,"银色",null,"个",27,null,null,"含备件1个"]
[6,"落地式冲洗阀坐便器","规格尺寸：W:420xd:722xh:655(mm)                                    \n",null,"白色",null,"个",16,null,null,"含备件1个、含上水配件、坐便器盖"]
[7,"落地式冲洗阀坐便器（儿童）","尺寸：w275*d530*h520                                          \n",null,"白色",null,"个",6,null,null,"含上水配件、坐便器盖"]
[8,"蹲式大便器","尺寸：595x440x320(mm)                                                  ",null,"白色",null,"个",70,null,null,"含备件1个"]
[9,"感应式大便器冲洗阀","规格尺寸：w:248xd:112xh:225(mm)冲水量：8L                                \n",null,"银白色",null,"个",70,null,null,"含备件1个"]
[10,"拖把池","规格尺寸：w:560xd:456xh:883 (mm)                                                                                   ",null,"白色",null,"个",16,null,null,"含备件1个"]
[11,"铜合金单柄单控洗涤水嘴","型号: DBS105S                                                      ",null,"银白色",null,"个",16,null,null,"含备件1个"]
[12,"小厨宝","储水式、功率不大于1.7KW                                            ",null,"白色",null,"个",38]
[13,"干手器","包装尺寸394*234*100mm、功率1KW",null,"镍色",null,"个",4,null,null,"按参考图片样式采购，戴森等同档次"]
[14,"防臭地漏","尺寸：101*101*54mm（全铜）                                                 ",null,"银白色",null,"个",27,null,null,"含备件2个"]
[15,"角阀","铜镀铬",{"$nulls":3},"个",104]
[16,"下水直通（洗手盆）","铜镀铬",{"$nulls":3},"套",61]
[17,"洗手盆回水弯（铜镀铬）","铜镀铬",{"$nulls":3},"套",61]
[18,"软管（长）","规格尺寸：80cm ",{"$nulls":3},"根",120]
[19,"软管（短）","规格尺寸：30cm",{"$nulls":3},"根",67]
[20,"拖把池下水直通","铜镀铬",{"$nulls":3},"套",16]
[21,"拖把池下水管","铜镀铬",{"$nulls":3},"个",16]
[22,"小便器存水弯(铜镀铬)","小便器链接管",{"$nulls":3},"根",27]
[null,"合计","/",{"$nulls":3},"/","/",null,null,"增值税专用发票税率：   %"]
[]
["备注：1.所有报价需包含安装所需配件。\n      2.招标人（采购单位）有权调整采购数量，据实结算。\n\n"]